[image: image1.jpg]7

LANGYUE EQUIPMENT AND YOU WIN

BRBIYEE 518H%R

P ANE

Langyue Instrument

FOig BIF =ik

The Harmonious Innovation Excellence

FEmF

B B X 28 HIE R/ IR 2 7

Changzhou Langyue Instrument Manufacturing Co., LTD



[image: image2.jpg]BRI BS

BS F P A IRARE 35 AT R — A0 A ALIEIRAE 5 IR % B AL & 0F oy — A BT AL SRR i
%, TRAA LB ANG A REERRS TRBIER. RAERKR. A9,
ERHF MR LAWK TR KRR ERFHA LA T D IR R
Full tempertaure shaking incubator combines chemical incubator with shaker. It isaide—
alinstrument for scientific applications in university and college chemicaland
blology sectors, environmental protection, hygiene and disease control.
¢ TAE% ZAR Workroom: 120L. 180L;
¢ 53856 R Temperature range: 5-50C. #§/¥ Precision< £17T;
% k% M % Shaking frequency: 0-280 3Kk / 4
¢ THEMANE. RERIERE. AR E

Stainless steel inner ,PU foam thermal insulation layer ,observation window air duct

WA, MEWETRRERT, EREE.

Lighting device ,casy operate

BURESAE AR EAE TN E RN RS A R ROR B AT
AERNRE ARG, BEM. £0. ey . RE. E¥. FRERH,
HEMITF TR M RBE LA,
Fungus culture box with temperature and humidity control system, double of the incubator
temperature and humidity control; built-in UV disinfection system Is a plant, biological,
microbial, genetic, viral, medicine, enviromental protectoin pscientific research, education
departments indispensable laboratory equipment.
% TAE% AR Vorkroom: 160L. 250L
42218 36 [ Temperature range 5-50'C(LED#F4%8 D digital display temperature control )
¥ Precision< £1C
2980 F Humidity range: SO0-95%RH. #5J¥ Precision< £ S%RH
X LEMARE. RIANEE. AR S

Stainless steel container, large viswal angle observation window, the unique circular duct design

FRATAGHE: E—fmfbmen s, AALE. ARER. BREH.
ETEEﬁﬂﬁ%ﬁdl&%‘%ﬂﬁmﬁ?wné%i‘%ﬁ &R FRF L TR,
HH. WEBAENNERRE, Rk, DNHWAER, AKM. EATLF R
4 AR

Intelligent artificial climate box,microprocessor control, lighting

device, thermostatic constant humidity, overheat protection, Applicable
for culture and storage ol plants, seeds, bacteria, cell, gnats,and aging
test of woods and construction materials .

% AR Capacity: 160L. 250L. S00L;

4538 /5 Temperature range: 0-45°C;

B JF 3 3h Temp accuracy: =1°C;

X 95 EH Humidity range: S0-9S%RH. 8 JZ %30 humidity accuracy: =7RH;
% SEBUE Illuminance: 2000LX. 3000LX. S000LX.

Tel:86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel?. com



[image: image3.jpg]BRAEANRR

i Carbon dioxide

SRR AN S SRR — R E. zﬁ»‘%ﬁt&% i
EEREPTRFARGLET B, JENATFES. RUHF . HWFORTE LS,
carbon dioxide incubator is the cell, bacteria, microbial culture is a kind of advanced
instruments. Is the development of inmunology, genetics and Biotechnology Research of
essential products. Widely used in medical, agricultural science, scientific research
aud producti(m of military medicine.
AT R B R IR AR I, IR D

wlth timing Function key microcomputer temperature controller, the temperature of small hole.
MRAE A A WA LB IR BAE, AL B 5
It uses the mirror surface stainless steel argon arc welding liner production, casy to clean

A PR SR R BT VTR A W ST o, AR G 0L A R R R R T
Box is provided with the ultraviolet sterilizing lamp can be regularly disinfected to box
MRAITRES, THEGLHTASEEERE,

With the temperature control, which can effectively prevent the condensation inside the box door glass door

L Electrothermal (blowing) drying box

(ﬁﬂ ?b&ﬁﬁ QEW#WHE Z%%UE% T s »ﬁ%ﬁ’\%%)ﬂ%)ﬁ%ﬂ*ﬁ"b‘
ﬂ, 7)1)2‘%1]1{65&}% S k. THAF, HEBE, RHF

BB IR AR A 4R iR %fmmmnm £ TR
‘7 %"n%&iﬂ%/ BAA: wr »%%1%4? AR I fE A4 JB/TS5520-91,
Electrothermal thermostatic drying oven is made of stainless steel ,with double-layer
tempered glass . Tt applies over—heat alarm and protection ,timer ,dural digital
display ,microprocessor controller and permanent axial fan .Intelligent and high
temp models have timer ,power leakage protection and over—heat alarm in accor—
dance with JB/T5520-91.

OB YL i FES R WEEEE) | WRELR | TS (em)
et Fovey nunais | Toasnainie ranis. | Toan aheuracs| ' boser Yoot S

220V 50HZ 50°C-300C 10 400W 25X25X25

101 (A Zsl | 220V 50HZ | s0T-300C | +1C 00W | 35%35x35

L (A 5

R 220V 501Z | 50C-300C | +1C 10008 | 45X35%15
202 (0 F51 [0y = — ; PPV

('ﬁ““ﬁ) 220V 50HZ 50°C-300C o = i o 1200W 55X 45X55

220 5012 | 50T 300C | +1C 15000 | 60X50X75

220V 501 | 50C-300C | +1C 20000 | 80X80X100

¥ n drving box

® drying bo

HE ?%’Ma) W%M%ﬁé%’f{ RETIEE. PID BT, AERE, ERTIH L.
SRt PR R A TR BT T ,‘\ﬂ}i%ﬁﬂﬂ

Vacuum drying box, microcomputer intelligent control, timing function, PID self-tuning,

over-temperature alarm, is suitable for industrial and mining enterprises, medical

institutions, scientific research units in of articles under vacium conditions in drying,

heat treatment test.

SORJ PID | R Ao LED B8 7 20 S BB A, IR ah/D. T,

Using self-tuning PID and double LED window to indicate the function of the high accuracy microcomputer

temperature controller, the temperature fluctuation is small, reliable.

AR, THRESE TR TEE A YR, —E TR

tempered glass, bullet-proof glass door interior observation objects. Stick out a mile.

SAETTH L R, BRRARRIITHE, AREAERESE.

Air-tightness of the chamber door is adjustable, integrally molded silicone rubber door seal, to

ensure a high degree of vacuum inside.

MIAEE R FRRA RS 5 2 A

chamber is made of stainless steel to ensure that the product durable

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel?. com



[image: image4.jpg]BRAEANRR

est box

BIRE (X% REHE
High low temperature test box ( alternating)
& A7 EMeet the standard: GB10592-89 (B2423.1 GB2423.2
UUBERTLLFRTRE (XF) ATEURR. HRTET. REEHR, fl
EMR, BEE, BERR. AFEMEMXT S FRERMBET . KR (
) BAELGERT, LTI LR,
The apparatus is suitable for industrial products of high and low tem—
perature ( alternating) reliability test. On electronic and electrical,
automotive, aerospace, ship weapons, universities, scientific research
units and other related products, parts and materials in high, low tem—
perature ( alternating) cyclic changes in the situation, inspection and
its performance.
X THEEAM (F) studio volume ( L): 50, 100, 250, 500, 800, 1000
% 38 BE 6 B The temperature range: —20, —40, —80, —70~100C/150C (Hik)
i JE ¥ 3h BE The temperature fluctuation: < +£0.5C
JE 34 4 EThe temperature uniformity: < £2°C
3% T} [ 38 2 S The temperaturo raising and lowering spood: - lowering > 2 ~ 3C /min, B raising < 1°C /min
XTHAAE, HRANAH, BRAAAEE

stainless steel container, spray steel shell, polyurethane foam insulation
X RAPEHRBHRENET . BRI

with hollow glass antifogging observation window, lighting
X A BTCF Ry X, HATHAR LR AR MR

The unique BTC balance adjustment method, is of high precision and high stability of

temperature control

() ZHIRIETE

(thermal) aging experiment box

5 A7 EMeet the standard: GB2423.2 JB74444-94Y
ANBRTATHRLS TR BB, BE%) RRALAEZMR RS LL,
FARTRELURE SRR RWAEL. THRIE,

In addition to the instrument for polymer material ( plastic, rubber etc.)
and electrical insulation materials heat resistance test. Can also be used
for non volatile and non inflammable and explosive materials aging, drying
baking.

% 38 36 [ Temperature range: RLHAIRT+10 ~300°C, LRAIRT+10 ~200C

% 38, £ 3% B B Temperature fluctuation: < £0.5°C

X 38 JE ¥y & B temperature uniformity: < +1.59%°C

X 9t 8 Bt 5] Heating up time: RLHE20-300°C /70min, LHAI20-200°C/50min

X 4 5, & Vontilation volume : 3003k //Nf ([ ifadjustablo)

X3 5 B A # 3k Sample table speed: 10—12r.p.m

XAGRNE, REABUL T, REERRRE

Stainless steel container, spray steel shell, polyurethane foam insulation

e Tel:86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel7. com




[image: image5.jpg], £
BRI ER

I

T IR

Salt spray corrosion test box
5 & A7 MEMeet the standard: GB2423.17 GB5170.8 GB10587 1309227
REANFRAANTEBEEESENE TR RRAB AL, THELIRE, 8
MR HBAERMRZREAE, SR, BE, TAXANAE, W
WA, WHHEHMAES, R WAE RS RENAR,
This serics of products for the artificial simulation of ocecanic salt spray corrosion
test device, the slectrical equipment, metal materials, products of various materials
surface treatment, electroplating, included on the coatings, inorganic and organic
coating, anodizing, rust—proof oil corrosion prevention treatment, accelerated corro—
sion test,
FESEEIn the temperature range: RT+10~55C;
%% 5 JE Volatility: < +0.5C
%3k Z 0 % Fn the salt fog sedimentation rate: | ~2ml/80cm2h
¢ fo 28 5 JE A7In saturated air prossure: 0.8 ~2+0.01kg/cm2
XERABMARERY . WHE. TR, ZFE. RHRIAR

Glass fiber reinforced plastic molding, corrosion resistance, shock resistance, easy to

clean, no leakage phenomenon
XAEHKLEN, BUPVCHE, HEREFABRAREERS

Water seal structure, transparent PVC box cover, see sample status and spraying state
XRELE BHBHHE BHAFRHE) | FREARSHEZR

Configure glass nozzle ( quartz glass production), removal of salt composition block worries
XEZRARAERRE, 2AH4. Bhab. ARTEFTH

Spray system using a spray tower, mist evenly distributed, fine, natural sedimentation and adjustable
XREREA L, 500 DL LRI SEHAT, EHREZEMI X

Dual pressure adjustment, 500 liter above uniguo pressure rod, pancl operation light switch cover

Lot SRR AE
Ultraviolet resistance to climatic test chamber
ﬁAﬁ}&Meet the standard: GB5170.9 GB16422.3
F SRLR B R T IR SR R AIARGEE. B0 R
BREVEHBANE, BE, BE, REFIELAFATATRR, AXFER
MAEER AN R EE, RESENAZBENER, TREAARERHTY
FBOVHERL, AP RAKE, BTHA, XAREEEHETERAY, &
HRAEE, AR, RS REAEFERA,
B Ultraviolet lamp test box is applied to the test material includes a non-metallic
materials, organic materials ( paint, coatings, rubber, plastic products ) and in
the sunlight, temperature, humidity, dew climate conditions change under inspec—
tion, product and material in a short period of time, such as color fading phenom—
enon of aging degree situation. The device has to provide the best sunshine UV
simulation, the use of maintenance and low cost, casy to use, the controller auto—
I’ matically test cycle, high degree of automation, lighting good stability, test
o results reproduce the characteristics of high.
8 J¥ % B Temperature range: RT+10~70C
% 3 J§ 36 B Humidity range: 75 ~ 9894RH
XRAE L WA p L BEThe specimen and the lamp center distance: 55 + 3mm;
X AMIT KUY wavelength: 280 ~ 400nm
X 7845 4 BE o 28 Stainless steel sample holder: 75 x 150 x 1.5mm

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel7. com a




[image: image6.jpg]BRI ER

RARTG A, XAERIER, LA SRR RAERERA G, LEDRF. WIEMES, BREATH
. THEHEI, HHERTE, SBERRGE, 2REGELEZARARARERTAR, 2RKY
B, RAGRESMESEN, HABK BARATIERKE, Bl BEL6EWY

Constant temperature oscillator, also known as table, the series of products t
temperature control system of integrated operational amplifier, LED display. lligh precision
temperature control, temperature regulating, showing the value of accurate and intuitive, superior
performance and reliability. Gas bath thermostats oscillator, the oscillator working temperature
indoor lighting device arranged lor observation, completely lukewarm oscillator, using high quality
full-closed compressor, refrigeration capacity, box with fan circulation device, a forced air con—
vection, the temperature distribution more uniform.

ed in the

SHZ-82 (A) /SHA-C (1) / SHA-B (A) 7k 34
Water-bathing Constant Temperature

HE -850, M8/ B . CW-SE A
Vagor-bathing Constant Tenpersture

HZQ-2. SHA-2%|3%-AKiE
Frozen valer bath thermostats

+ RH-QCE
1 temp shaker

) ARG GSF it AR R

Track type cradle

RS Technical parameters

RS EREE o [RFREm RS AR e TEAR | AR TERT@ MR
Model temp range | Shaking Amplitude | Shaking Frequency ‘Shaking model heating power Working room overall size
SHA-B (A)| RT-100 20 0-300 | tacit ng| 1880 | 4029 | 71X55X52
SHZ-82A RT-100 20 0-300 |qoomn ni® d 1880 | 4029 | 71x55x49
SHA-C (A)| RT-100 20 0-300 iy 1880 | 4029 | 71x55x49
SHAse 5-100 20 0-300 |cyconm hepocaing 1880 | 4029 | 715569
zD-85(A)| RT-50 20 0-800 | cyooron Reeprecaimg| 580 | 4536 | 71<X47x52
THz-82(A/B)|  RT-50 20 0-300 |cyeommm memocag 580 | 4536 | 71X47X52
cHA-s (W | RT-50 20 0-300 Ribgeait 580 | 4536 | 71x47x52
RH-Q(G) | 550 20 0-300 Crioton 1800 | 82x<50 | 115x70x95
65-30 4-45 30 50-250 o 500 / 284X 264X 90
Hi#-100/500 | RT+5-50 20 20-300  |oyorbi TEERocaing 500 3535 /

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel?. com



[image: image7.jpg]PRAEAEE

3 BRE-MELOERAR —RA T, L TRG. 2ARG. EidRd, Riogam—MEwis,
ZAIE BEATFR, RN, RGBT, RAFHREE 7KL B TEREAKR), TS MK, HE
TEHEFFE. Refe. £WIR. HF. RENKEFFTLATET PO RETE.

HY Vertical multipurpose Vibrator kind of biochemistry instruments which can vibrate up and down, to the left
and right, circling round and be mixed even. The series arc operated stably, line noise, vibrating at the steeples
speed. Use stainless steel spring [ixture for all-use. (You can also order special [ixture). It can match many kinds
ol trial bottles, meeting the needs of different customers. It’s [irst-elected instruments in line research and
prodding, such as, biochemistry, biohegy engineering, teaching, microbiology and so on.

—

'\w 2 '_g!

-3 () % 3h R % 5 HY-2/4 () 8 5 JAL 4R i 2 Y-ARBE SR E
Vulti-function Shaker Speed Adusting Multipurpose Shaker Speed Adusting Multipurpose Shaker

)
HY=S (1) B 3 A4 B V-6 () BEHRFH 8 V-8 () AEERHAZ (IR
Maneuver Style Vibrator Double Large Vibrator Large capacity Vibrator

i

%/'
IR B DNT-2500 % % e B AL TY-80R(8) B 45K

KS oscillator Multi eddy mixing instrument Decolorization table

HARKBE Technical parameters

s TERSSE B i) FHBE e fRH AR em  THEAR | TERem) SMERT e &iE

Model Timer ‘Shaking Amplitude | Shaking Frequency | Shaking model working room overall size remark
B2 | 0-120 20 0-280 | EELER 5012280 | 51x48%30
HY-3 (A) 20 0-300 | ELEE | sax3s | 75x50x33 |wwuens
HY-4(A) | 0-120 20 0-320 s 4328 | 43x26x23 | "SR
HY-5(A))| 0-120 20 0-280 Bk 4535 | 45X 35X 23
HY-B2 | 0-120 20 0-360 B 4536 | 45x35%23 | LSEHE
HY=6 (A) | 0-120 20 0-260 B 60502 | 60 50X 61 | WL
HY-8 (A) | 0-120 20 0-260 i 70X 62 |70 62X 28 | oty
DMT-2500 1s-9999 £ 500-2500 / 31x18 25x42x41 M‘ﬁu%gﬁi‘sp‘gy
TY-80R(S) / / 0-80 iggE £ / / s

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuelT. com



[image: image8.jpg]BB EAEREROE, SR T A . ERSRAREEFHIT, ERTHMRRERR

BAA

AEEMAARTA. HERRLER, GEPEE HEMARE, REREPIYE LHABRE ) BEEA.

Power Centrifugal Instrument belongs to normal lab instruments,widely used in scientifie research,educatione and produing department,fits radio

activity in munity appraisal and searate cells and big panticles. It has many styles chosen by custoners, that tining adn nontiming, low speed and high

speed, micro capacity and harge capacity, ttlring speed nunerical shou and non-numerical shou.

80-3 W, 2 AL

Power Centrifugal Instrument

@

-

[T —

JJ. ']

TGL-16A %ﬁ%rb%ﬂ.

High speed centrifuge

T

RZ-50

LA EH

Milk centrifuge

80-2 L 3h AL

Power Centrifugal Instrument

TOLSO & X AZF R H M
Large Capacity Centrifuge

i
-

MINIP-2500 4 FLAR 3 15 5 0 Al

Microplate Mini centrifuge

B KRS Technical parameters

80-2(B) w5 Al

Power Centrifugal Instrument

-}
TGL & ik 4 7k 5 Al
High, Low Speed Centrifuge

Mini-4K/6K/10K B Al

Mini Centrifige

a5 BIEESE Bl com> & B FERSEBlmin| B0 0| SMER T em> #&iE
Model speed capacity timer Centrifugal force overall size remark
800D,/800—1 0-4000 20m| < 6 0-60 1450 25X 24
80-3 0-4000 20ml < 6 0-60 1450 D25 24 A
80—2 0-4000 20m| <12 0-60 2325 [29x32x27
LD-4 0-4000 100mI X< 45%50ml <X 6 0-60 2750 332827
TDL-50 0-4000 50m| < 8 0-60 2770 [33x28x27
90-2 (B) 0-4000 20m| < 8 0-60 2325 |29x<32x27 I
80—2B 0—-4000 20m| <12 0-60 2325 293432 27| o=l spec deniay
RZ-50 0-1350  [50ml ><68§50ml <8 0-5 2100 D42 27 e
Minip-2500 / SR i / 5009 23x20X19 | g 8oy
Mini-4k/6k/10k / 50 SmIBIO I L 7 90012000/50009]  19%16x12

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233

Http://www. |angyuel7. com




[image: image9.jpg]BRRE{Y 23S

DCARFIGR B M A A ABR 30 0 AR A0AR, 5 50k, SRR R 40 BAEME, Wb XA P EH
Bk, BRARR, BARARARAR, SERESERFRE, FESHNERR, T NERARG, L
FEEY, EAAENAE, BTS2 SRR AR,

DC series low constant temperature water tank using imported stainless steel material, and has the advantages of
compact structure, simple operation, microcomputer control system, air cooled closed compressor refrigeration, cooling
speed, the refrigeration system with heat, over current protective devices. New stainless steel circulation pump, the
groove thermostatic liquid outside, the establishment of second constant temperature field, also can be used as a cold
source, the groove being refrigeration liquid into the machine outside the experimental vessel.

T6-14, 76-1B8 BHIEE A B B-SHUB 1R iRl HH-SAHE 47
Digital glass thernostatic waterbath super thermostatic ofl bath super thermostatic oil bath

H-SOLBARIE BAGE DCA B
super thermostatic water bath Low-temp thernosta

A (B )

¢ waler bath (horizontal. vertical)

HARS# Technical parameters

w 2| manE | memE| BE | TR | AR || B9 | BERE | ME | T | TEEra
Vodel | Toro varws | Precision | Work taicvolume| Work st peringe
Ve | Tt rune. | ki sonor] Pronsion |'worsingioern | Overaise By e ks oy
52 (F) C) Cem) (cm)
@] reaoe | T v eaoxa0 Tazxooca| |20 | toioo [ ot [eexauxis [ texia
R i DC-0515 | -5-100 0.1 | 28X25%22 | 2316
76-1B | RT100 | 1000 | +0.05 |¢30X30 |32X3X4| [Tpoqoi5 | -t0-100 | +0.1 | 28x25x22 | 23x16
HH-S RT-300 2000 +1 28X28X30(48X37X37 DC-1020 | -5-100 +0.1 28X25%28 | 23X16
WH-SD | RT:300 | 1500 | 1 |€22X20 |40X29X27| | DC-2015 | -20-100 | +£0.1 | 30X25X20 | 2816
HHS\s | RT300 | 5000 | +0.5 |40X30x20[63x37x5z| [ DCSO1S | 907100 | H0.1 | 30x25x20 | 2316
DC-3030 | -30-100 | +0.1 | 40X33x23 | 31x28
HH-SB | RT-300 | 2000 1 |40X30X20/57x 3639
DC-4006 | -40-100 | +0.1 | 25%20x12 | 18X14
s RT100 | 1000 | £0.5 |40x30x18]  / DC-4015 | -40-100 | +0.1 | 30x25x20 | 2316
ey RE100 1000 +0.5 |40Xx30Xx18 / DC-4010 | -40-100 +0.1 | 31X20X15 | 23X14

Tel:86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel7. com



[image: image10.jpg]BARMLAN 2R

TR IR KA B SR SR T Y b, RATR R R DA A PR B R AR R
RBIFRRL B EA DB, RIS REAR TR, BAPAREE, BEAIMES WKHRLEDS R, HAL.
B, B RERTEE. TR RGBS RE AR,

The electronic constant tenperature water bath pot imported stainless steel plate and the precision machinery processing and manufactur—
ing process, high temperature resistance, corrosion resistance characteristics. Temperature control device usingHligh stability and high pre-
cision dual operational anplifier integrator A/D conversion techrology, far infrared heating technology designed. Heat balance time is short,
tenperature wifomityGood; test data LED display, intuitive, accurate. The products are widely used in drying, distillation, concentration,
soaking the chamical or biological products.

R
LB AT

sunacensence [l

BH-SUE R4 HH-S4E IR A 4R U-S4r6/s FFHE SRAH 4
Thernostatic Water Bath Thernostatic Water Bath Double-ron thermostatic water bath
e cm—

TM-W420/600=, W-201BIE EAGE (3 ) DK-8D#% B AT AR
Three-purpose Thermos Water Bath Thermostatic water/oilbath Thermostatic water bath
¥ KZ# Technical parameters
B S B K ST ES ZIRTEE KBIKE | INEEE | TEERR
Model Style Hsatirzgwl)wwel TerY%v)ange Temp !(!%1)ualwcn p'(e%sgun \I\/mkl(nngmr)uum
HH-S1 3 single row 300 RT-100 =0.5 ==+0.5 16X16X13
HH-S2 | #3ysingie row 600 RT-100 =0.5 =40.5 30X 16X13
HH-S4 B3 single row 1000 RT-100 =0.5 <+0.5 61X16X13
HH-S6 | #3isingeron 1500 RT-100 =0.5 =40.5 | 90X16X13
HH-S4  [®3idouble row 800 RT-100 =0.5 =+0.5 31X31X13
HH-S6 |W5double row 1500 RE190 =0.5 ==+0.5 47 X31X13
HH-S8 |3l doubte row 1800 RT-100 <0.5 ==+0.5 62x31X13
HH-W420 | #35)single ow 1000 RT-100 =0.5 =+0.5 42X18X18
HH-W600 |35 double row| 1800 RT-100 =0.5 =+0.5 60<30X%20
W-201B / 1000 RT-200 =0.5 =40.5 $26X16
DK-8D 2/3/4FLHole | $FFLI00WEach hole 300 RT-100 =0.5 =<+0.5 14X12%12

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel’. com



[image: image11.jpg]BRHR{Y 25

A R BRI R, RE, HEPR, SEMATEW A TR et A EIRE I BHR
AREREFGEE DT, TR, %9 aa%H. BREA LR RamEs RasET, WEk. e,
SRR A, TS AN ARPITRRTE, A T2ERE .

Magnetic heating stirrer adopts [ine direct current motor, low noise, stable speed regulation, all closed stainless
steel heating tray is used for auxiliary heating use. Constant temperatureThe magnetic stirrer can set temperature and
temperature show, can heat for a long time use, digital display is intuitive and accurate. By PTFE and high—quality
steel finished mixingChild, high temperature resistance, wear resistance, chemical corrosion resistance, strong
magnetic property. But in a closed vessel mixing work, use very ideal and convenient.

8

78-2 79-0 Bk Ay Ak WILL L, 851 BEAH AR 85-2. 111-3 1 RIF A At 5 99-1(A) KIfFahHt#HE

Two-way Magnetisn Heating Mixer Magnetism lleating Mixe Thermostatic Magnetic Stirrer  Powerful Magnetic Stirrer

-5 S B E S ohpt RSN\ % kot idp s TB-4/5 R A4 B DF-T1, DF-1018 & K8k fr i

Constant temperature,multi-function mixer Multi-unit Magetic stirrer Time, double Magetic stirrer Heat-gathering Magetic stirrer

AR SBE Technical parameters

W 5 L) L3 i by A Y R IR
Model beici i g pamar — T e
85-1. 78-1. 782 781, 78-2: 2000 -
79-1, 79-2 2N 0-2400rpm | 707" 705" sooy | EDigital /
85-2: RI-150C
85-2. HJ-3. 7811 408 0-2400rpm 3000 Bcibiginl| 1is oW, REI0T
1. HJ-2 250, 2502 x ) w
Hioo Wl ot 2o | 0-2400rpm HJ-2: 300WX2 |# EDigital /
HJ-4B. HJ-6B 25WX 4. 25WX6 | 0-2400rpm | 20004, 20006 | B EDigital RT-100°C
HJ=4A, HI-6A 25Wx 4, 25WX6 | 0-1800rpm 2000 4 HEDigital RT-100°C
¥ . ¥ it RT-1001C. 2B M XK
85-2A. 85-2B 400 0-20001pm 3000 punigtis| A UGS B ANIR
DE-T1DF-101S.DF-101B, 60w 0-2000rpm 800W #Epigital| DIl ‘3‘.:{8}; 'é';%.g
1B-2/3/475 250 0-2400rpm 200W HEDigital /

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel7. com



[image: image12.jpg]HEERAWAR, WITAE. SHF G, RALMAREN, BREE, RARERS, #EDTRE. Bg
AER REFND, BERLEHE. HERPRE. HAFRML, (LTHEREHHAEM N E RN RE T 5D

ARG 4.

DC constant speed electric mixer, reasonable design, novel structure, adopts a DC brushless motor,

stepless speed, a pressure system, speed displayAnd stability. It has big power,

small noise, safe

operation and so on. For large and medium-sized institutions, scientific research units, chemical
laboratory mixing liquid Xiang ChemicalResponse to provide an indispensable basic equipment.

JI-1H BB JI-1ARL BB CZ-A%LE B fr B

Electirc Stirrer Electirc Stirrer Powerful Electirc stirrer

I,

FSII-24 o 8 338 4 44 YQ-3 5 %A A-88 (J1-2) BB
llomogenate Machine llomogenate Machine Tissue/Organ Bruiser

A Z% Technical parameters

T3 (A) W, b

Six-unit Electirc Stirrer

Six-Unit Electirc Stirrer

ey HPLE e it R fpid
Nodel Pover timer Rotational speed Pover remark
JI-14) 25-3000 0-120min 0-3000rpm 220V 50HZ
T3 JJ4 4/6X100W, 260 0-120min 0-1800rpm 220V 50HZ
JJ-6 60-3000 0-120min 0-2500rpm 220V 50HZ AR
Ameans digtal speed display|
GZ+ GZ-A 200W / 60-2000rpm 220V 50HZ
FSH-2A, YQ-3 185N / 0-20000rpm 220V 50HZ
A-88, JJ-2 (1) 2000 0-60min 0-12000rpm 220V 50HZ

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel7. com



[image: image13.jpg]BRI ER

THREREORR. SRE, BPEZEATRERE. TR VRESE, HinfoR R B s o iR
BTH. BEHA. VHRE. ZAHK, BERSTEY, RARTEHEEAH RANTERE R, BIEH
BEAREY. Bk EHTA. MR AUIRE. HERFOLENE,

SUS thermostaic laboratory hotplate and heating mantle,uniform heating ,energy saving safe-to -use ,non—
deforming topplate ,anti-corrosion ,Various models available.

DB 517+ 45 40 1, el TP-350847 i £ B ak y dw kA TP-35047 f ik J1 o i

DB llot plate Intelligent digital mgnetic heating plate Intelligent magnetic heating plate
N
|
) i
KDMi i . 44 TP-38045 fl#E Jy o A TP-38084 Gtk Jy b}
KDM Heating Mantle Intelligent magnetic electric sets Intelligent magnetic electric sets

B
DB-I112 58 & Hiti. MT-13F i 8 2 MT-24] it 8 2

Themostatic Plate Electric Sand Bath Electric Sand Bath

AR SE Technical parameters

ﬂﬁ"}lf“ﬁ% fedinbetil T I N i %& i
style temp range heating power working room Power emark
KDV, KDV-A KDM-A:RT-300C 250m1-5000m1 220V 50117
5000
DB DB-A DB-A:RT-300°C 150X200-400X600 (m) 220V 5017 A A
1000W Wi Tt
DB-H RT-50C 95X 606 (nm) 220V 50HZ et dempgiar
1500
NT-1, MT-2 MT-2:RT-300°C 2000R 300400100 (mm) 220V 50Hz
EREREINC 140 140 () ST800rpnin AR
P350() gk %,‘, e 280 x 280 (mm) / Stepless speed regulation
TP380(S) ﬁxﬁﬁxﬁg:-%ﬁ“ﬁc 5 % ¥ § RSpeed display

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuelT. com



[image: image14.jpg]"

BAMAY

AKEZH TAMBRE R ORGSR & (WliRh, BEAAT, UE. KA o ) lﬁﬁ@: &
SRRSO S I, (8 KA . 8, AT S R R B 8, 17%##* uu;ﬁ. .
Nitrogen blowing apparatus mainly used for large-volume sample enrichment or preparation ( such as drug screening,
hormone analysis, liquid phase, and mass spectrometry in the analysis of sample preparation ). Working principle:
the nitrogen into the heated surface of the sample, the sample solvent evaporation, rapid separation, thereby reaching
the sample anaerobic enrichment purpose, keep the sample more pure.

-
>
!///
NDK200-1 SPR{L NDK200-2 .ok {3 NDK200-1A 963, &2k 4%
Nitrogen blowing instrument Nitrogen blowing instrunent Nitrogen bloving instrument

PIS-3C S5 ABE T PIS-2C HF RBE T PIS-25 &5 AW it
Digital ph meter Digital ph meter Digital ph meter

<.
; ~ [
\. 1
|

=

7
¥ R RF FA RFIRF IA RFIRF
Balance Balance Balance

AR S% Technical parameters

7R A LG WREEREIE | SRS The | AAHLHE HAUETy AT JRCE A
Model Temp range Precision longest time | Nitrogen flow | Nitrogenpressure | Place module
NDK200-1/2 ) ) ] 12— HOSTLN R
NDRotoiia. | FHESHE0T +0.5C 99h59min 0—10L/min <0. 1MPa 1/2/A.96 hole plate
P AL PH LR PH UG | mv SUEDRE | my UG SR
Model Precision Measuring range Precision Measuring range |Tempe compensation range
PHS-25/2C/3C |40, IpH/40.0208/+0.01H  0.00--14.00pH +10mV 0--+1999mV 0--60C
RS It KFR Ak (2) i 16) FERLGE(2)
Model The largest weighing Precision Said disk size
Y 100-1200 0.01 (FHp2Z— 80-150
JA 100-500 0.001 (T2 80-150
FA 100-200 0.0001 (J55y2Z ) 80

Tel:86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel?. com



[image: image15.jpg]BRAEAY RS

BRI ARG BB KPOBBR, REATGEMEBEM. AN HALEE, Thmes
R SR AT A, AT AP, R, SRR E R A BT AL
Quartz Second High Purc Water Distiller is made to choose excellent quartz glass ,distilled water doesn’ t touch any
mental . The produced second boiling water is very pure ,can be used as special analysis water ,widely [its to produce
and prepare pure analysis water in colleges .Scientific research departments and labs.

SYZ-A(B) FEEABAAEKRE SYI-C B R TR HHALEE SYZ-550 % 5 T o B AR K A B

Quartz Sub-boiling Distiller Quartz Sub-boiling Distiller Quartz Sub-boiling Distiller

1810-B BHB R ELAKRE 1810-C R H = EHAKGE S2-93 {1 Sh N E A kK BE
Automatic Dual Distiller Automatic Dual Distiller Automatic Dual Distiller

11

HSZ 745 41 #A5 Kk B R201 () EREKE (WAER) 721, 751338, BRLED

Automatic Dual Distiller Rotating Fveporimenter Gvith water tathing temk) glass, quartz colorimetric plate

AR S Technical parameters

B s ;A% IRFATHER (W) k& (ml/h) SR~ (em)
Model Specification Heating power Water output Overall size

SYZ-A @120 360 1000 500 48X26X36
SYZ-B @ 120X 480 1500 1000 53X 20X 50
SYZ-550 @ 120X 480 1500 1000 53X20X50
1810-B @ 100 %< 480 3000 2500 50X 35X 48
1810-C @100 %< 480 3000 2000 20X 36X63
SZ-93 @100 %< 480 3000 2000 20X 3663
SYZ-C @ 100480 3000 2500 50Xx35X48
YAZD (A) 5L/10L/20L 4.5W /7.5W /13.5W | 5L/h 10L/h 20L/h BRI &

Tel:86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. |angyuel’. com



[image: image16.jpg]& jamma&

BFC-35D ¥4 SRAfeS SQC-1000 X 2§ K SRAERR P-5L2C #=F M A% 772 KRB SRAERR
& Dust sampler / Dual air sampler | Digital dust meter @utomatic water sampler
) 'Y
A ] .
ERHEMRAERE ETC #RFRKRAERE SRR WGZ-B it
air microorganism samplieg Bottie-deep water sampmj Sludge deepwamrsamp!erj turbidimeter /
N
- B
e —
T40 —E BRI HIF-1/240F-20 415045 00, Al | | CEA-T00 £ €O, SMHTf CES-02 CO, SR
\_ Carbon monoxide detector / Infrared co,Analyzer j PaimcabondoddeAnalyzer || Catbondoxde ges Anclzer |
N
| BN
-
¥ [a— Z i "
ONY-858C BURZFREEMIRAL | | 721/722/752/ 53 K E it ASHERAEITE MF99-3 B B EATL
Pesticide residues testing inslrumey Spe(‘.‘lrophotornetErJ) Public places detection box J

Automatic mmamgaphy

Tel :86-0519-82866633 82869933 Fax:86-0519-82862233 Http://www. langyuel7. com



[image: image17.jpg]& jemm%s

5347~ #2318 & Analysis, detection equipment

@ »

a

TES-1360 HFURIBAE T

p

AZ-886 LLHME MR

WSB BTt

TES-1326/1327 £I5NIR (X

. Digtaltemperet.re anchumicy meter Infrared thermometer Whiteness meter Infrared thermometer
Vo I
AZ-8908 {E# 3 RURL X101, TES-1330 MR+ TES-1350A #{FERAERIT  AE-8921/8922 HF ALt
_ Portable wind instrumnet llumination meter Digital sound level meter Digital sound level meter
r @ r
o
GXH-3011C0, X 400 FREESMT L 1027 AL AI-01/03/05 HFRE(L
Carbon monoxide detector Formaldehyde Analyzer Radon measuremnet insfrumnet Digital anemometer
K J € 4
e i r
A=
Vg B
3 it
s 9‘;' |
PXS-215 H B Fit DOS-11A/12A BT S EAL EFRBEL B
lon meter Digital conductivity meter Halogen moisture: analyzer/ Constant flow pump
\ _4 5 4

®

Tel:

86-0519-82866633 82869933 Fax: 86-0519-82862233 Http://www. langyuel?. com




[image: image18.jpg]Penicillin oscillator/,

DDF—1KW. 15KW %3 ¢ B 4
Closed furnace

DDL-4x1KW BHZRTIAT AP

Silicon-controlled adjustable electable -

SX, s B

Box-type resistance furnace

o ®e

RH-18 3D HEREIR AL
\Rutatirug mixing instrument

p

~%

DTD-25 %5 S 1838 i AR

\ Digilalmnsianttemperauturemgesﬁun/ L

200-6 i EINHAZE
Tube heater

EeRIRAE
\Tumover type osclillator g,

HY800 /NOE R E R
small caliber sterilizer

y

XH-G HERIE S5
Vorter mixer

a

R RE AL
Ultrasonic deaning machine

e
b [
AL (ZR) Bk
Paride (sTowtake)oe mechine
/

M1, M2, WZ-2A B IR 7ES

Trace vibrator

THEMAREE

Stainless steel lift tables

SFELTIES
Clean bench

b &

\

beE 1Ak -3

Glass reactor

Tel:

86-0519-82866633 82869933 Fax: 86-0519-82862233 Http://www. langyuel7. com

wdll




[image: image19.jpg]please visit our website
HTRES, BERERRMEM
www. langyuel7. com

EMHEABMNEREHRL T
Changzhou lang yue instruments Manufacturing Co.,Ltd
ik SIHEEEHARERITS

Add: Danfeng West Road 17. Jintan.Jiangsu.China
Tel:86-0519-82866633 82869933
Fax:86-0519-82862233

Http://www. langyuel7. com

E-mail: langyue17@163. com




